## BoQ-GLM
ITEM | DESCRIPTION | UNIT | QTY | MATERIAL RATE | MATERIAL AMOUNT | LABOUR RATE | LABOUR AMOUNT | TOTAL AMOUNT
SECTION A (Section A.1 to A.6 is a Percentage of the total Contract Value Including the design fees)
PRELIMINARY AND GENERAL CHARGES
A.1 | GENERAL
| Allow for complying with all Special Preliminary & General conditions and Contract and Labour requirements, for site establishment and for providing a site office and suitable water, sanitary & first-aid services, for attending all inspections and site | % | 1 |  | 0% |  | 0% | 0
A.2 | SITE ESTABLISHMENT
Provide for storage of plant, materials and equipment on site including protection thereof and for obtaining and providing all sureties and insurances called for in terms of this contract.
A.3 | PERMITS AND NOTICES
Allow for obtaining all necessary permits
and giving of notices and co-operation
with other trades.
A.4 | COMMISSIONING & TESTING
Supply all test equipment & labour for testing, commissioning and adjustments of the final installation as well as being in attendance for any inspections and tests.
A.5 | GUARANTEE
Allow for a guarantee period of 12 months against defects in equipment, material & workmanship, but excluding abuse, wear and tear and normal maintenance.
A.6 | PROJECT BOARD
Allow for name board (1850 x 1850mm), with the projects, contractor, client and consultants details on - prior approval from consultant required.
A2 | SITE SECURITY
| Allow for armed security requirements for the project / site plant and facilities | Monthly | 1
TOTAL FOR SECTION A CARRIED TO SUMMARY |  |  |  | 0 |  | 0 |  | 0
ITEM | DESCRIPTION | UNIT | QTY | MATERIAL RATE | MATERIAL AMOUNT | LABOUR RATE | LABOUR AMOUNT | TOTAL AMOUNT
SECTION B
SUPPLY and DELIVERY OF MATERIAL &
LABOUR FOR 400V RETICULATION.
B.1 | Supply, delivery and installation of Aerial Bundle Conductor 600/1000V(Steel Reinforced with bare neutral) to SABS1418:
| - 70mm2 Aerial Bundle conductors with a 1 core 54.6mm2 insulated neutral conductor and 1 core 35mm2 | m | 1
| - 35 x 3core + 1 x 54,6 mm² | m | 1
B.2 | Supply, delivery and installation of the following pole structures
B.2.1 | End Structure | No | 1
B.2.2 | Intermediate Structure | No | 1
B.2.3 | T-Off Structure | No | 1
B.2.4 | Strain Angle (0-30) Structure | No | 1
B.2.5 | Strain Angle (30-90) Structure | No | 1
B.2.6 | 4-Way Cross Structure | No | 1
B.2.7 | Earthing for pole structures (1.5m earth rod, 3m kicker pipe and 10m x 25mm bare copper conductor, piercing connector) | No | 1
B.2.9 | Extra Stay Assembly Structure | No | 1
B.2.10 | 9m pole with 140mm top diameter. | No | 1
B.3 | Supply, deliver and installation of 3CR12 pole mounted box for overhead connection. Box must include 60A, 5kA, MCB's and space for SMART metering complete with wiring and stand numbers. Tender to make sure all fittings (e.g. wedge clamps, etc.) are included. |  | 1
| - 2 Way | No | 1
| -4 Way | No | 1
B.4 | Supply 40mm, Viro lock for pole boxes. | No | 1
B.5 | Supply, Deliver and Install all required labels (Kiosks No.) and required danger signs complete, for Low voltage network. | Sum | 1
B.6 | Excavation, backfilling, compacting and to tidy up of pole excavations
| - Intermediate | No | 1
| - Hard Rock | No | 1
B.7 | Supply, deliver and installation of: 7m Wooden pole to accommodate overhead airdac cable slack of house connections, complete with airdac tension clamp, pig tail & securing devices, installation and compaction form part of this item, complete | No | 1
B.8 | Installation of earthing system complete, for Low voltage network at pole mounted transformer. | No | 1
B.9 | Supply and install 140mm top, 9m length STRUT poles complete with brackets | No. | 1
TOTAL FOR SECTION B CARRIED TO SUMMARY |  |  |  | 0 |  | 0 |  | 0
ITEM | DESCRIPTION | UNIT | QTY | MATERIAL RATE | MATERIAL AMOUNT | LABOUR RATE | LABOUR AMOUNT | TOTAL AMOUNT
SECTION C: 11kV RETICULATION
C.1 | Supply, deliver and installation of 315kVA, 11kV/400V pole mounted transformer complete with surge arrestors and drop-out fuses. | No | 1
C.2 | Supply, deliver and installation of 100kVA, 11kV/400V pole mounted transformer complete with surge arrestors and drop-out fuses. | No | 1
C.3 | Supply, deliver and installation of 50kVA, 11kV/400V pole mounted transformer complete with surge arrestors and drop-out fuses. | No | 1
C.4 | Supply and Deliver all required labels (Transformer No.) and required danger signs complete, for Medium voltage network. | No | 1
C.5 | Supply and install Forx ACSR conductor for NEW overhead lines. | m | 1
C.6 | Supply and install Hare, ACSR conductor for NEW overhead lines. | m | 1
C.7 | Installation of earthing system complete, for 11kV network at transformer structure. | No | 1
C.8 | Determination of soil resistivity before and after installation of earthing equipment. | sum | 1
C.9 | Supply, delivery and installation of the following pole structures, including 11m pole with 180mm top diameter.
C.9.1 | Stay Assembly Structure complete | No | 1
C.9.2 | 4 Pole Transformer Structure complete with poles | No | 1
C.9.3 | Intermediate Structure complete with pole | No | 1
C.9.4 | End/Strain Angle Structure complete with pole | No | 1
C.9.5 | Flying Stay Structure complete with pole | No | 1
C.9.6 | Strain Angle (30-90) Structure complete with pole | No | 1
C.9.7 | 12m Strut Structure with bracket and accessories complete with pole | No | 1
C.10 | 11m pole with 180mm top diameter. | No | 1
C.11 | Excavation,bedding,backfilling,compacting and to tidy up of pole excavations and stays.
| - Intermediate | No
| - Hard Rock | No | 1
C.12 | Pegging and clearing of line route. | km | 1
C.13 | Clean all vegetation and spray Round-Up around 2m radius at each pole structure. | No | 1
C.14 | Supply and install set of drop-out fuses (3/set) with crossarm, connections and 90A fuse wire complete. | Set | 1
C.15 | Supply and install set of Surge arrestors (3/set) with crossarm, connections and earthing complete. | Set | 1
C.16 | Surveyer | Sum | 1
C.17 | Earthing | No | 1
TOTAL FOR SECTION C CARRIED TO SUMMARY |  |  |  | 0 |  | 0 |  | 0
ITEM | DESCRIPTION | UNIT | QTY | MATERIAL RATE | MATERIAL AMOUNT | LABOUR RATE | LABOUR AMOUNT | TOTAL AMOUNT
SECTION E
SERVICE CONNECTIONS : PLC SMART METERING
D.1 | Supply and Install 10sq.mm Copper AIRDAC (3 Core) for service connections to consumers. | m | 1
D.2 | Supply and Install Ready Board unit, for each dwelling complete with mounting material and SPACE FOR Keypad for SMART meter system. (40A single pole overload, 25mA double pole earth leakage unit, 2x 20A for plugs, 1 x10A for light | No | 1
D.3 | Supply and Install, for each dwelling complete SMART meter system. | No | 1
D.4 | Any material and/or labour the tenderer wish to include to bring about the complete service connection to each consumer, e.g. bolts & nuts, etc.
D.5 | Certificate of Compliance for each consumer and all required test certificates. | No | 1
D.6 | Supply, deliver and installation of Airdac Wedge Strain clamp complete with bolts and fittings to be installed at each house for overhead service connection cable. | No | 1
TOTAL FOR SECTION E CARRIED TO SUMMARY |  |  |  | 0 |  | 0 |  | 0
SECTION E
E.1 | ENGINEERING & DOCUMENTATION
| Design Fees (percentage of the total contract value) | Sum | % |  |  | 0% |  | 0
TOTAL FOR SECTION F CARRIED TO SUMMARY |  |  |  | 0 |  | 0 |  | 0
Section No | Description | [6 empty] | Amount
A | Preliminary & General | [6 empty] | 0
B | Material and Labour for 400V Reticulation | [6 empty] | 0
C | Material and Labour for 11kV Reticulation | [6 empty] | 0
D | Material and Labour for Service Connections | [6 empty] | 0
E | Engineering & Documentation | [6 empty] | 0
F | TOTAL CONSTRUCTION COST(Excl. Vat) | [6 empty] | 0
G | VAT | [6 empty] | 0
H | TOTAL CONSTRUCTION COST(Excl. Vat) | [6 empty] | 0
Note on I6: Total amount = (material amount + labour amount) x total (excl VAT)
Note on I111: Total amount = (material amount + labour amount) x total (excl VAT)

## Quantities (hidden)
Trfr Zone | No. of connections | MV Network | [7 empty] | LV Network
|  | 12m Poles | Stays | Struts | Int/Susp ass. | Strain ass. |  | T-off ass. | Hare Cond. | 9m Poles | 7m Poles | Stays | Struts | Int/Susp ass. | Strain ass. |  | T-off ass. | ABC Cond. | 10sqm Airdac (m) | Pole top boxes |  | Street lights
[6 empty] | 0-60 | 60-90 | [7 empty] | 0-60 | 60-90 |  |  |  | 2-way | 4-way
TRF 01 | 101 | 11 | 3 | 1 |  |  |  | 1 |  | 41 | 11 | 15 | 10 |  |  |  | 9 |  | 2525 | 19 | 17 | 30 | 25
TRF 02 | 102 | 4 | 0 | 2 |  |  |  | 0 |  | 43 | 13 | 22 | 5 |  |  |  | 7 |  | 2550 | 7 | 24 | 17
TRF 03 | 85 | 15 | 5 | 1 |  |  |  | 1 |  | 25 | 9 | 10 | 3 |  |  |  | 6 |  | 2125 | 14 | 16 | 23
TRF 04 | 104 | 8 | 1 | 0 |  |  |  | 0 |  | 32 | 6 | 11 | 4 |  |  |  | 2 |  | 2600 | 6 | 26 | 18
TRF 05 | 67 | 4 | 1 | 2 |  |  |  | 0 |  | 26 | 9 | 12 | 10 |  |  |  | 7 |  | 1675 | 8 | 15 | 15
TRF 06 | 49 | 9 | 2 | 0 |  |  |  | 1 |  | 12 | 2 | 3 | 4 |  |  |  | 3 |  | 1225 | 8 | 9 | 13
TRF 07 | 127 | 4 | 0 | 0 |  |  |  | 0 |  | 46 | 8 | 24 | 4 |  |  |  | 4 |  | 3175 | 12 | 29 | 22
TRF 08 | 108 | 12 | 5 | 1 |  |  |  | 0 |  | 35 | 7 | 9 | 7 |  |  |  | 6 |  | 2700 | 11 | 24 | 23
TRF 09 | 117 | 16 | 4 | 0 |  |  |  | 2 |  | 26 | 4 | 6 | 4 |  |  |  | 4 |  | 2925 | 10 | 25 | 23
TRF 10 | 128 | 1 | 0 | 0 |  |  |  | 0 |  | 48 | 7 | 10 | 10 |  |  |  | 6 |  | 3200 | 8 | 31 | 22
TRF 11 | 81 | 6 | 3 | 1 |  |  |  | 1 |  | 25 | 3 | 4 | 4 |  |  |  | 2 |  | 2025 | 11 | 15 | 16
TRF 12 | 88 | 14 | 1 | 0 |  |  |  | 0 |  | 20 | 3 | 4 | 4 |  |  |  | 3 |  | 2200 | 13 | 16 | 13
TRF 13 | 88 | 2 | 1 | 0 |  |  |  | 0 |  | 34 | 7 | 15 | 3 |  |  |  | 4 |  | 2200 | 4 | 23 | 15
TRF 14 | 97 | 13 | 3 | 1 |  |  |  | 1 |  | 19 | 5 | 4 | 1 |  |  |  | 3 |  | 2425 | 7 | 21 | 14
TRF 15 | 70 | 4 | 4 | 1 |  |  |  | 0 |  | 29 | 8 | 10 | 7 |  |  |  | 3 |  | 1750 | 7 | 16 | 15
TRF 16 | 113 | 6 | 3 | 3 |  |  |  | 0 |  | 44 | 6 | 9 | 7 |  |  |  | 5 |  | 2825 | 11 | 27 | 20
TRF 17 | 112 | 13 | 2 | 1 |  |  |  | 1 |  | 26 | 4 | 7 | 2 |  |  |  | 3 |  | 2800 | 7 | 25 | 21
TRF 18 | 110 | 11 | 1 | 4 |  |  |  | 0 |  | 33 | 2 | 9 | 7 |  |  |  | 7 |  | 2750 | 2 | 28 | 14
TRF 19 | 127 | 7 | 0 | 0 |  |  |  | 0 |  | 50 | 10 | 23 | 2 |  |  |  | 5 |  | 3175 | 16 | 29 | 28
TRF 20 | 102 | 8 | 2 | 0 |  |  |  | 0 |  | 37 | 7 | 14 | 5 |  |  |  | 5 |  | 2550 | 11 | 21 | 22
TRF 21 | 104 | 9 | 1 | 0 |  |  |  | 0 |  | 32 | 6 | 12 | 9 |  |  |  | 6 |  | 2600 | 9 | 23 | 19
TRF 22 | 116 | 9 | 5 | 1 |  |  |  | 0 |  | 49 | 9 | 26 | 6 |  |  |  | 6 |  | 2900 | 18 | 23 | 21
TOTALS | 2196 | 186 | 47 | 19 | 0 | 0 | 0 | 8 | 22377 | 732 | 146 | 259 | 118 | 0 | 0 | 0 | 106 | 37504 | 54900 | 219 | 483 | 424
702

## Rates (hidden)
MATERIAL RATE | LABOUR RATE
75000 | 15000
115000 | 75000
35000 | 750
90000 | 70000
225000 | 7500
100000 | 15000
0 | 850000
640000 | 1033250
MATERIAL RATE | LABOUR RATE
95 | 75
65 | 75
920 | 120
920 | 120
920 | 120
920 | 120
920 | 120
920 | 120
150 | 50
445 | 100
395 | 250
690 | 250
5318465 | 3299410
MATERIAL RATE | LABOUR RATE
5318465 | 3299410
150 | 1
290 | 25
0 | 150
0 | 150
570 | 100
1648.5 | 130
6500 | 145
1190 | 150
6290757 | 3580090
MATERIAL RATE | LABOUR RATE
118000 | 980
95000 | 980
45000 | 980
150 | 20
15 | 3
11 | 3
1450 | 200
2000
1390 | 150
4980 | 1500
990 | 150
990 | 150
1450 | 150
990 | 150
1990 | 150
3238660 | 212300
MATERIAL RATE | LABOUR RATE
3238660 | 212300
150
150
990 | 5000
75 | 55
1990 | 300
1790 | 1000
0 | 250000
1050 | 2000
3456849 | 1115100
MATERIAL RATE | LABOUR RATE
52 | 13
1100 | 150
850 | 100
0 | 0
1990 | 150
80 | 20
12232270 | 1864070
20 | 20
1844 | 20
650 | 20
3 | 20
3 | 20
24 | 20
150 | 20
1112602 | 144160