## BoQ Water Materials
GA-SEGONYANA LOCAL MUNICIPALITY
Bid No: 24/2023-24
PANEL: PROCUREMENT OF WATER AND SEWER MATERIALS AND EQUIPMENT - SUPPLY AND DELIVERY ONLY
ITEM NO | DESCRIPTION | UNIT | QTY | RATE | PREV QTY | MONTH QTY | TOTAL QTY | AMOUNT | AMOUNT
WATER - MEDIUM PRESSURE MATERIALS
1.1 | PIPE LINES (6M LENGTHS) SABS 996
1.1.1 | Ø 50mm uPVC class 12 | No. | 1
1.1.2 | Ø 63mm uPVC class 12 | No. | 1
1.1.3 | Ø 75mm uPVC class 12 | No. | 1 | [5 empty] | 0
1.1.4 | Ø 90mm uPVC class 12 | No. | 1
1.1.5 | 15% VAT | No. | 1 | [5 empty] | 0
1.1.6 | TOTAL | No. | 1 | [5 empty] | 0
1.1.7 | Ø 200mm uPVC class 12 | No. | 1 | [5 empty] | 0
1.1.8 | Ø 250mm uPVC class 12 | No. | 1
1.2 | PIPE LINES SABS 996
1.2.1 | Ø 20mm HDPE uPVC PN 10 (100m) | roll | 1
1.2.2 | Ø 25mm HDPE uPVC PN 10 (100m) | roll | 1
1.2.3 | Ø 32mm HDPE uPVC PN 10 (100m) | roll | 1
1.2.4 | Ø 40mm HDPE uPVC PN 10 (100m) | roll | 1
1.2.5 | Ø 50mm HDPE uPVC PN 12 (100m) | roll | 1
1.2.6 | Ø 75mm HDPE uPVC PN 12 (100m) | roll | 1
14.2857
1.3 | POLYCOP PIPES (ROLL)
1.3.1 | Pipe diameter and length
1.3.2 | Polycop pipe 22mm,100m | roll | 1
1.3.3 | Polycop pipe 15mm, 100m | roll | 1
PVC WASTE PIPES
| WPE213 40mm PVC - 6m lengths | No. | 1
| WPE313 50mm PVC - 6m lengths | No. | 1
| WPE313 40mm PVC - 6m lengths | No. | 1
| SL420 110m mm plain ended pipee | No. | 1
1.4 | Unitwist fittings
1.4.1 | 15mm UT2000A coupler cxc | No. | 1
1.4.2 | 22mm UT2000B coupler cxc | No. | 1
1.4.3 | 15x22mm UT2000R coupler Red cxc | No. | 1
1.4.4 | 15mm UT2001A coupler mxc 1/2" | No. | 1
1.4.5 | 22mm UT2001B coupler mxc 3/4" | No. | 1
1.4.6 | 15mm UT2001R coupler mxc 3/4" | No. | 1
1.4.7 | 15mm UT2002A coupler | No. | 1
1.4.8 | 22mm UT2002B coupler 3/4" | No. | 1
1.4.9 | 15mm UT2020AB elbow cxc | No. | 1
1.4.10 | 22mm UT2020B elbow cxc | No. | 1
1.5 | BENDS
PVC FITTINGS (CLASS 16)
1.5.1 | Ø 50mm x 11¼° | No. | 1
1.5.2 | Ø 50mm x 22½° | No. | 1 |  | 0 | 0 | 0 |  | 0
1.5.3 | Ø 50mm x 45° | No. | 1
1.5.4 | Ø 50mm x 90° | No. | 1 |  | 0 | 0 | 0 |  | 0
1.5.5 | Ø 63mm x 11¼° | No. | 1
1.5.6 | Ø 63mm x 22½° | No. | 1 |  | 0 | 0 | 0 |  | 0
1.5.7 | Ø 63mm x 45° | No. | 1
1.5.8 | Ø 63mm x 90° | No. | 1 |  | 0 | 0 | 0 |  | 0
1.5.9 | Ø 75mm x 11¼° | No. | 1
| SUB TOTAL CARRIED FORWARD | [7 empty] | #REF!
BROUGHT FORWARD | [8 empty] | 0
1.5.10 | Ø 75mm x 22½° | No. | 1 |  | 0 | 0 | 0 |  | 0
1.5.11 | Ø 75mm x 45° | No. | 1
1.5.12 | Ø 75mm x 90° | No. | 1 |  | 0 | 0 | 0 |  | 0
1.5.13 | Ø 90mm x 11¼° | No. | 1
1.5.14 | Ø 90mm x 22½° | No. | 1 |  | 0 | 0 | 0 |  | 0
1.5.15 | Ø 90mm x 45° | No. | 1
1.5.16 | Ø 90mm x 90° | No. | 1 |  | 0 | 0 | 0 |  | 0
1.5.17 | Ø 110mm x 11¼° | No. | 1
1.5.18 | Ø 110mm x 22½° | No. | 1 |  | 0 | 0 | 0 |  | 0
1.5.19 | Ø 110mm x 45° | No. | 1
1.5.20 | Ø 110mm x 90° | No. | 1 |  | 0 | 0 | 0 |  | 0
1.5.21 | Ø 160mm x 11¼° | No. | 1
1.5.22 | Ø 160mm x 22½° | No. | 1 |  | 0 | 0 | 0 |  | 0
1.5.23 | Ø 160mm x 45° | No. | 1
1.5.24 | Ø 160mm x 90° | No. | 1 |  | 0 | 0 | 0 |  | 0
1.5.25 | Ø 200mm x 11¼° | No. | 1
1.5.26 | Ø 200mm x 22½° | No. | 1
1.5.27 | Ø 200mm x 45° | No. | 1
1.5.28 | Ø 200mm x 90° | No. | 1
1.5.29 | Ø 250mm x 11¼° | No. | 1
1.5.30 | Ø 250mm x 22½° | No. | 1
1.5.31 | Ø 250mm x 45° | No. | 1
1.5.32 | Ø 250mm x 90° | No. | 1
Waste Pipe Fittings
1.6 | 40mm 87.5°bend solvent weld | No. | 1
1.6.1 | 50mm 87.5°bend solvent weld | No. | 1
1.6.2 | 40mm 87.5°bend access heel solvent weld | No. | 1
1.6.3 | 50mm 87.5°bend access heel solvent weld | No. | 1
1.6.4 | 40mm 135°bend solvent weld | No. | 1
1.6.5 | 50mm 135°bend solvent weld | No. | 1
1.6.6 | 40mm 135°single junction solvent weld | No. | 1
1.6.7 | 50mm 135°single junction solvent weld | No. | 1
1.6.8 | 110mm Kimberley socket | No. | 1
1.6.9 | 110mm Dounbble socket | No. | 1
1.6.10 | 110mm Single socket | No. | 1
1.6.11 | 110mm 87.5° single reducing Junction | No. | 1
1.6.12 | 110mm 87.5° double reducing Junction | No. | 1
1.6.13 | 110mm 87.5° plain bend | No. | 1
1.6.14 | 110mm 87.5° Access heel bend | No. | 1
1.6.15 | 110mm Straight Pan Collar Connector | No. | 1
1.6.16 | 110mm Straight Pan Collar WC Offset | No. | 1
1.6.17 | 32x40mm White P-trap | No. | 1
1.6.18 | 32x50mm White P-trap | No. | 1
1.7 | SPECIAL FITTINGS
1.7.1 | Equal T-Pieces PVC Claass16
1.7.2 | 50mm x 50mm | No. | 1
1.7.3 | 63mm x 63mm | No. | 1
1.7.4 | 75mm x 75mm | No. | 1 |  | 0 | 0 | 0 |  | 0
1.7.5 | 90mm x 90mm | No. | 1 |  | 0 | 0 | 0 |  | 0
1.7.6 | 110mm x 110mm | No. | 1 |  | 0 | 0 | 0 |  | 0
| SUB TOTAL CARRIED FORWARD | [7 empty] | #REF!
BROUGHT FORWARD | [8 empty] | 0
1.7.7 | 160mm x 160mm | No. | 1 |  | 0 | 0 | 0
1.7.8 | Reducing T-Pieces
1.7.9 | 90mm x 75mm | No. | 1 |  | 0 | 0 | 0 |  | 0
1.7.10 | 110mm x 75mm | No. | 1 |  | 0 | 0 | 0 |  | 0
1.7.11 | 160mm x 75mm | No. | 1 |  | 0 | 0 | 0 |  | 0
1.7.12 | 160mm x 90mm | No. | 1 |  | 0 | 0 | 0 |  | 0
1.7.13 | 160mm x 110mm | No. | 1 |  | 0 | 0 | 0 |  | 0
1.7.14 | 250mm x 110mm | No. | 1
1.8 | Reducers
1.8.1 | 90mm x 75mm | No. | 1 |  | 0 | 0 | 0 |  | 0
1.8.2 | 110mm x 75mm | No. | 1
1.8.3 | 160mm x 75mm | No. | 1 |  | 0 | 0 | 0 |  | 0
1.8.4 | 160mm x 90mm | No. | 1 |  | 0 | 0 | 0 |  | 0
1.8.5 | 160mm x 110mm | No. | 1 |  | 0 | 0 | 0 |  | 0
1.9 | Adaptar Flanged D.T.D
1.9.1 | 50mm | No. | 1
1.9.2 | 63mm | No. | 1
1.9.3 | 90mm | No. | 1
1.9.4 | 75mm | No. | 1
1.9.5 | 110mm | No. | 1
1.9.6 | 160mm | No. | 1
1.9.7 | 220mm | No. | 1
1.9.8 | 250mm | No. | 1
1.10 | END CAPS
1.10.1 | Ø 110 mm uPVC pipe | No. | 1 |  | 0 | 0 | 0 |  | 0
1.11 | FIRE HYDRANT (Flanged Galvanised)
Fire Hydrant T-Piece (Flanged Galvanised)
1.11.1 | Ø 90mm x 63mm
1.11.2 | Ø 110 mm x 80mm
1.11.3 | Ø 90mm x 80mm | No. | 1 |  | 0 | 0 | 0 |  | 0
1.11.4 | Ø 110 mm x 80mm | No. | 1 |  | 0 | 0 | 0 |  | 0
1.11.5 | Ø 160 mm x 80mm | No. | 1 |  | 0 | 0 | 0 |  | 0
1.11.6 | Ø 200 mm x 80mm | No. | 1
1.11.7 | Ø 250 mm x 80mm | No. | 1
1.11.8 | fire hydrant Valve outlet 80mm x 65mm cast iron Male inlet right angle temper roof | No. | 1
1.11.9 | Layflat 65mm x 30mm red canvas layflat house complete with 65mm Aliminum male and female house couplings | No. | 1
1.11.10 | 65mm Brass Booster connector complete with cap and chain | No. | 1
1.11.11 | WTD-65 | No. | 1
1.11.12 | WHD-65 | No. | 1
1.11.13 | WU T3 V65 | No. | 1
1.11.14 | WU T3 R65 | No. | 1
1.11.15 | WTD-80 | No. | 1
1.11.16 | WHD-80 | No. | 1
1.11.17 | WU T3 V80 | No. | 1
1.11.18 | WU T3 R80 | No. | 1
| SUB TOTAL CARRIED FORWARD | [7 empty] | #REF!
BROUGHT FORWARD | [8 empty] | 0
1.11.19 | Fire hydrant stands Galvanised pipe
1.11.20 | Fire hydrant stands Galvanised pipe 80mm diameter | No. | 1
1.11.21 | Fire hydrant stands Galvanised pipe 63mm diameter | No. | 1
1,11,22 | Fire hydrand concrte pedestal template H=1100mm W1=500mm W2=300mm | No. | 1
1.12 | Non Return Vales
Swing Check Valve
1.12.1 | Swing Check Valve size 50 mm | No. | 1
1.12.2 | Swing Check Valve size 80mm | No. | 1
1.12.3 | Swing Check Valve size 90 mm | No. | 1
1.12.4 | Swing Check Valve size 110 mm | No. | 1
1.12.5 | Swing Check Valve size 140 mm | No. | 1
1.12.6 | Swing Check Valve size 160 mm | No. | 1
1.12.7 | Swing Check Valve size 200 mm | No. | 1
1.12.8 | Swing Check Valve size 250 mm | No. | 1
1.12.9 | Swing Check Valve size 300 mm | No. | 1
1.12.10 | Swing Check Valve size 350 mm | No. | 1
1.12.11 | Swing Check Valve size 400 mm | No. | 1
1.12.12 | Swing Check Valve size 500 mm | No. | 1
1.12.13 | Swing Check Valve size 600 mm | No. | 1
1.13 | Non Clean, Sewage & Wastewater Combination Air Valve
1.13.1 | WW-C50 Bermad
1.13.2 | WW C80 Bermad
1.14 | GALVINISED FITTINGS
Junior Johnson Couplings
1.14.1 | 15mm | No. | 1
1.14.2 | 20mm | No. | 1
1.14.3 | 25mm | No. | 1
1.14.4 | 32mm | No. | 1
1.14.5 | 40mm | No. | 1
1.14.6 | 50mm | No. | 1
1.15 | Barrel Nipple
1.15.1 | 15mm | No. | 1
1.15.2 | 20mm | No. | 1
1.15.3 | 25mm | No. | 1
1.15.4 | 32mm | No. | 1
1.15.5 | 40mm | No. | 1
1.15.6 | 50mm | No. | 1
1.16 | Hallow Plugs
1.16.1 | 15mm | No. | 1
1.16.2 | 20mm | No. | 1
1.16.3 | 25mm | No. | 1
1.16.4 | 32mm | No. | 1
| SUB TOTAL CARRIED FORWARD | [7 empty] | #REF!
BROUGHT FORWARD | [8 empty] | 0
1.16.5 | 40mm | No. | 1
1.16.6 | 50mm | No. | 1
1.16.7 | 65mm | No. | 1
1.16.8 | 80mm | No. | 1
1.1 | Sockets
1.17.1 | 15mm | No. | 1
1.17.2 | 20mm | No. | 1
1.17.3 | 25mm | No. | 1
1.17.4 | 32mm | No. | 1
1.17.5 | 40mm | No. | 1
1.17.6 | 50mm | No. | 1
1.18 | Reducing Bushes
1.18.1 | 25mmx15mm | No. | 1
1.18.2 | 25mmx20mm | No. | 1
1.18.3 | 32mmx15mm | No. | 1
1.18.4 | 32mmx20mm | No. | 1
1.18.5 | 32mmx25mm | No. | 1
1.18.6 | 40mmx15mm | No. | 1
1.18.7 | 40mmx20mm | No. | 1
1.18.8 | 50mmx15mm | No. | 1
1.18.9 | 50mmx20mm | No. | 1
1.18.10 | 50mmx25mm | No. | 1
1.18.11 | 50mmx40mm | No. | 2
1.19 | Reducing Bushes (HDPE)
1.19.1 | 25mmx15mm | No. | 1
1.19.2 | 25mmx20mm | No. | 1
1.19.3 | 32mmx15mm | No. | 1
1.19.4 | 32mmx20mm | No. | 1
1.19.5 | 32mmx25mm | No. | 1
1.19.6 | 40mmx15mm | No. | 1
1.19.7 | 40mmx20mm | No. | 1
1.19.8 | 50mmx15mm | No. | 1
1.19.9 | 50mmx20mm | No. | 1
1.19.10 | 50mmx25mm | No. | 1
1.19.11 | 50mmx40mm | No. | 2
1.20 | TAPS AND VALVES
Taps
1.20.1 | 15mm PC15BT Garden Tap | No. | 1
1.20.2 | 22mm PC22BT Garden Tap | No. | 1
1.20.3 | 15mm PCST15 Stop Tap | No. | 1
1.20.4 | 22mm PCST22 Stop Tap | No. | 1
| SUB TOTAL CARRIED FORWARD | [7 empty] | #REF!
BROUGHT FORWARD | [8 empty] | 0
1.21 | Brass Ball Valves Full Bore
1.21.1 | 15mm | No. | 1
1.21.2 | 20mm | No. | 1
1.21.3 | 25mm | No. | 1
1.21.4 | 32mm | No. | 1
1.21.5 | 40mm | No. | 1
1.21.6 | 50mm | No. | 1
1.22 | Nylon Ball Valves ever Handle
1.22.1 | 15mm | No. | 1 |  | 102.6 | 102.6 | 102.6
1.22.2 | 20mm | No. | 1
1.22.3 | 25mm | No. | 1
1.22.4 | 32mm | No. | 1
1.22.5 | 40mm | No. | 1
1.22.6 | 50mm | No. | 1
1.23 | Brass Loaded Check Valve
1.23.1 | 15mm | No. | 1 |  | 102.6 | 102.6 | 102.6
1.23.2 | 20mm | No. | 1
1.23.3 | 25mm | No. | 1
1.23.4 | 32mm | No. | 1
1.23.5 | 40mm | No. | 1
1.23.6 | 50mm | No. | 1
1.24 | CASCADE REPAIR FITTINGS
Cascade full Clamps (Range) with biggest band width
1.24.1 | 50mm (59-67) | No. | 1
1.24.2 | 75mm (69-76) | No. | 1
1.24.3 | 75mm (87-93) | No. | 1
1.24.4 | 75mm (95-104) | No. | 1
1.24.5 | 100mm (104-113) | No. | 1
1.24.6 | 100mm (113-120) | No. | 1
1.24.7 | 100mm (121-130) | No. | 1
1.24.8 | 150mm (150-161) | No. | 1
1.24.9 | 200mm (196-205) | No. | 1
1.24.10 | 200mm (218-228) | No. | 1
1.24.11 | 225mm (248-257) | No. | 1
1.24.12 | 250mm (298-309) | No. | 1
1.24.13 | 300mm (312-322) | No. | 1
1.24.14 | 350mm (342-356)
| SUB TOTAL CARRIED FORWARD | [7 empty] | #REF!
BROUGHT FORWARD | [8 empty] | 0
1.25 | HDPE Compression Fittings
Male Adaptors
1.25.1 | 16mm x 3/4
1.25.2 | 16mm x 1
1.25.3 | 20mm x 1/2 | No. | 1
1.25.4 | 20mm x 3/4 | No. | 1
1.25.5 | 20mm x 1 | No. | 1
1.25.6 | 25mm x 1/2 | No. | 1
1.25.7 | 25mm x 3/4 | No. | 1
1.25.8 | 25mm x 1 | No. | 1
1.25.9 | 32mm x 1 | No. | 1
1.25.10 | 32mm x 1 3/4 | No. | 1
1.25.11 | 32mm x 1 1/4 | No. | 1
1.25.12 | 32mm x 1 1/2 | No. | 1
1.25.13 | 40mm x 1 | No. | 1
1.25.14 | 40mm x 1 3/4 | No. | 1
1.25.15 | 40mm x 1 1/4 | No. | 1
1.25.16 | 40mm x 1 1/2 | No. | 1
1.25.17 | 50mm x 1 | No. | 1
1.25.18 | 50mm x 1 3/4 | No. | 1
1.25.19 | 50mm x 1 1/4 | No. | 1
1.25.20 | 50mm x 1 1/2 | No. | 1
1.25.21 | 75mm x 1 | No. | 1
1.25.22 | 75mm x 1 3/4 | No. | 1
1.25.23 | 75mm x 1 1/4 | No. | 1
1.25.24 | 75mm x 1 1/2 | No. | 1
1.26 | Female Adaptors
1.26.1 | 15mm x 3/4 | No. | 1 |  | 50.75 | 50.75 | 50.75
1.26.2 | 20mm x 3/4 | No. | 1
1.26.3 | 20mm x 1
1.26.4 | 25mm x 1/2 | No. | 1 |  | 50.75 | 50.75 | 50.75
1.26.5 | 25mm x 3/4 | No. | 1
1.26.6 | 25mm x 1 | No. | 1
1.26.7 | 32mm x 1 | No. | 1
1.26.8 | 32mm x 1 3/4 | No. | 1
1.26.9 | 32mm x 1 1/4 | No. | 1
1.26.10 | 32mm x 1 1/2 | No. | 1
1.26.11 | 40mm x 1 | No. | 1
1.26.12 | 40mm x 1 3/4 | No. | 1
1.26.13 | 40mm x 1 1/4 | No. | 1
1.26.14 | 40mm x 1 1/2 | No. | 1
1.26.15 | 50mm x 1 | No. | 1
1.26.16 | 50mm x 1 3/4 | No. | 1
1.26.17 | 50mm x 1 1/4 | No. | 1
1.26.18 | 50mm x 1 1/2 | No. | 1
1.26.19 | 75mm x 1 | No. | 1
1.26.20 | 75mm x 1 3/4 | No. | 1
1.26.21 | 75mm x 1 1/4 | No. | 1
1.26.22 | 75mm x 1 1/2 | No. | 1
| SUB TOTAL CARRIED FORWARD | [7 empty] | #REF!
BROUGHT FORWARD | [8 empty] | 0
1.27 | Equal Tees
1.27.1 | 20mm | No. | 1
1.27.2 | 25mm | No. | 1
1.27.3 | 32mm | No. | 1
1.27.4 | 40mm | No. | 1
1.27.5 | 50mm | No. | 1
1.28 | Reducing Couplings
1.28.1 | 15mm x 20mm | No. | 1
1.28.2 | 25mm x 20mm | No. | 1
1.28.3 | 32mm x 20mm | No. | 1
1.28.4 | 40mm x 20mm | No. | 1
1.29 | ELBOW
1.29.1 | Elbow 20 x 20 mm | No. | 1
1.29.2 | Elbow 25 x 25 mm | No. | 1
1.29.3 | Elbow 32 x 32 mm | No. | 1
1.29.4 | Elbow 40 x 40 mm | No. | 1
1.29.5 | Elbow 50 x 50 mm | No. | 1
1.29.6 | Elbow 63 x 63 mm | No. | 1
1.29.7 | Elbow 75 x 75 mm | No. | 1
1.29.8 | Elbow 90 x 90 mm | No. | 1
1.29.9 | Elbow 110 x 110 mm | No. | 1
1.30 | ELBOW MALE THREADED
1.30.1 | Elbow male threaded 16 x 1/2'' | No. | 1
1.30.2 | Elbow male threaded 20 x 1/2'' | No. | 1
1.30.3 | Elbow male threaded 20 x 3/4'' | No. | 1
1.30.4 | Elbow male threaded 25 x 1/2'' | No. | 1
1.30.5 | Elbow male threaded 25 x3/4'' | No. | 1
1.30.6 | Elbow male threaded 25 x 1 | No. | 1
1.30.7 | Elbow male threaded 32 x 1'' | No. | 1
1.30.8 | Elbow male threaded 32 x 1 1/4'' | No. | 1
1.30.9 | Elbow male threaded 40 1 1/4'' | No. | 1
1.30.10 | Elbow male threaded 40 x 1 1/2'' | No. | 1
1.30.11 | Elbow male threaded 50 x 1/2'' | No. | 1
1.30.12 | Elbow male threaded 50 x 2'' | No. | 1
1.30.13 | Elbow male threaded 63 x 2'' | No. | 1
1.30.14 | Elbow male threaded 63 x 2 1/2'' | No. | 1
1.30.15 | Elbow male threaded 75 x 2 1/2'' | No. | 1
1.30.16 | Elbow male threaded 75 x 3'' | No. | 1
1.30.17 | Elbow male threaded 90 x 3'' | No. | 1
1.30.18 | Elbow male threaded 90 x 4'' | No. | 1
1.30.19 | Elbow male threaded 110 x 4'' | No. | 1
| SUB TOTAL CARRIED FORWARD | [7 empty] | #REF!
BROUGHT FORWARD | [8 empty] | 0
1.31 | ELBOW FEMALE THREADED
1.31.1 | Elbow Female threaded 16 x 3/8'' | No. | 1
1.31.2 | Elbow Female threaded 16 x 1/2'' | No. | 1
1.31.3 | Elbow Female threaded 20 x 1/2'' | No. | 1
1.31.4 | Elbow Female threaded 20 x 3/4'' | No. | 1
1.31.5 | Elbow Female threaded 25 x 1/2'' | No. | 1
1.31.6 | Elbow Female threaded 25 x3/4'' | No. | 1
1.31.7 | Elbow Female threaded 25 x 1 | No. | 1
1.31.8 | Elbow Female threaded 32 x 1/2'' | No. | 1
1.31.9 | Elbow Female threaded 32 x 3/4'' | No. | 1
1.31.10 | Elbow Female threaded 32 x 1'' | No. | 1
1.31.11 | Elbow Female threaded 32 x 1 1/4'' | No. | 1
1.31.12 | Elbow Female threaded 40 1 1/4'' | No. | 1
1.31.13 | Elbow Female threaded 40 x 1 1/2'' | No. | 1
1.31.14 | Elbow Female threaded 50 x 1 1/2'' | No. | 1
1.31.15 | Elbow Female threaded 50 x 2'' | No. | 1
1.31.16 | Elbow Female threaded 63 x 2 1/2'' | No. | 1
1.31.17 | Elbow Female threaded 63 x 2'' | No. | 1
1.31.18 | Elbow Female threaded 75 x 2 1/2'' | No. | 1
1.31.19 | Elbow Female threaded 75 x 3'' | No. | 1
Graphite Packing
1.31.20 | 8mm Graphite Gland Packing 15m roll | Roll | 1
1.31.21 | 10mm Graphite Gland Packing 15m roll | Roll | 1
1.31.22 | 12mm Graphite Gland Packing 15m roll | Roll | 1
Copper Compression Fittings
1.13.178 | 15mm Straight Coupling CxC | No. | 1
1.13.179 | 22mm Straight Coupling CxC | No. | 1
1.13.180 | 15mm Straight Coupling Cx Male | No. | 1
1.13.181 | 22mm Straight Coupling CxMale | No. | 1
1.13.182 | 15mm Straight Coupling Cx Female | No. | 1
1.13.183 | 22mm Straight Coupling CxFemale | No. | 1
1.13.184 | 15mm 90°bend CxC | No. | 1
1.13.185 | 22mm 90°bend CxC | No. | 1
1.13.186 | 15mm Straighy Coupler | No. | 1
1.13.187 | 22mm Straighy Coupler | No. | 1
1.13.188 | 15mm Straighy slip Coupler | No. | 1
1.13.189 | 22mm Straighy slip Coupler | No. | 1
1.13.190 | 15mm Medium Copper Tubbing 6m Lengths | No. | 1
1.13.191 | 22mm Medium Copper Tubbing 6m Lengths | No. | 1
| SUB TOTAL CARRIED FORWARD | [7 empty] | #REF!
BROUGHT FORWARD | [8 empty] | 0
TEE Copper Compression Fittings
1.13.194 | (diameter x diameter xdiameter) mm | No. | 1
1.13.195 | Tee 15 x 15 x 15 mm | No. | 1
1.13.196 | Tee 20 x 20 x 20 mm | No. | 1
1.13.197 | Tee 20 x 25 x 20 mm | No. | 1
1.13.198 | Tee 63 x 63 x 63 mm | No. | 1
1.13.199 | Tee 75 x 75 x 75 mm | No. | 1
1.14. | COUPLINGS AND FLANGE ADAPTORS
1.14.1 | Step Couplings
1.14.3 | 48 - 58 (74 to 90) | No. | 1
1.14.4 | 59 - 73 (88 to 103) | No. | 1
1.14.5 | 72 - 85 (108 to 128) | No. | 1
1.14.6 | 108 - 128 (132 to 154) | No. | 1
Klamflex Ranger Couplings
1.14.7 | OD 250-267 | No. | 1
1.14.8 | OD 272-289 | No. | 1
1.14.9 | OD 302-318 | No. | 1
1.14.10 | OD 315-332 | No. | 1
1.14.11 | OD 340-360 | No. | 1
1.14.12 | OD 390-410 | No. | 1
1.14.13 | OD 425-442 | No. | 1
1.14.14 | OD 480-500 | No. | 1
1.14.15 | OD 494-510 | No. | 1
1.14.16 | OD 526-546 | No. | 1
1.14.17 | OD 600-614 | No. | 1
1.14.18 | OD 608-636 | No. | 1
1.14.19 | OD 630-650 | No. | 1
Dismantling Jonts (N.B T16/3)
Fitting to be supplied with complete joint set
1.14.20 | 80mm | No. | 1
1.14.21 | 100mm | No. | 1
1.14.22 | 125mm | No. | 1
1.14.23 | 150mm | No. | 1
1.14.24 | 200mm | No. | 1
1.14.25 | 250mm | No. | 1
1.14.26 | 300mm | No. | 1
1.14.27 | 350mm | No. | 1
1.14.28 | 400mm | No. | 1
1.14.29 | 450mm | No. | 1
1.14.30 | 500mm | No. | 1
1.14.31 | 600mm | No. | 1
Multi Range Flange Adaptor
1.14.32 | 48mm-60mm | No. | 1
1.14.33 | 59mm-72mm | No. | 1
1.14.34 | 72mm-85mm | No. | 1
1.14.35 | 74mm-90mm | No. | 1
| SUB TOTAL CARRIED FORWARD | [7 empty] | #REF!
BROUGHT FORWARD | [8 empty] | 0
1.14.36 | 88mm-103mm | No. | 1
1.14.37 | 109mm-128mm | No. | 1
Cast Iron Flange Adaptor (Table 16/10 & Multi Drill)
1.14.38 | 50mm | No. | 1
1.14.39 | 63mm | No. | 1
1.14.40 | 75mm | No. | 1
1.14.41 | 90mm | No. | 1
1.14.42 | 110mm | No. | 1
1.14.43 | 160mm | No. | 1
1.14.44 | 180mm | No. | 1
1.14.45 | 200mm | No. | 1
1.15 | VALVES
1.15.1 | DN 50 mm | No. | 1
1.15.2 | DN 75 mm | No. | 1 |  | 0 | 0 | 0 |  | 0
1.15.3 | DN 90 mm | No. | 1 |  | 0 | 0 | 0 |  | 0
1.15.4 | DN 110 mm | No. | 1 |  | 0 | 0 | 0 |  | 0
1.15.5 | DN 160 mm | No. | 1 |  | 0 | 0 | 0 |  | 0
1.15.6 | DN 200 mm | No. | 1
Valve Boxes
1.15.6 | Round Valve Boxes (blue/greeen) 250mm | No. | 1
1.15.7 | Polymer Concrete Valve Box type 3A. (Product type 119108) | No. | 1 |  | 0 | 0 | 0 |  | 0
VALVE KEYS
1.15.8 | 50mm-250mm
1.15.9 | 300-450mm
1.16 | METERING
Bulk Water Meters (Kent Helix H4000) Table 16 Drill
1.16.1 | DN40 | No. | 1
1.16.2 | DN50 | No. | 1
1.16.3 | DN80 | No. | 1
1.16.4 | DN100 | No. | 1
Bulk Water Meters (Kent Helix H4000) - Inserts Only
1.16.8 | DN40
1.16.9 | 50mm | No. | 1
1.16.10 | 80mm | No. | 1
1.16.11 | 100mm | No. | 1
1.16.12 | 200mm | No. | 1
1.16.13 | 250mm | No. | 1
1.16.14 | 300mm | No. | 1
| SUB TOTAL CARRIED FORWARD | [7 empty] | #REF!
BROUGHT FORWARD | [8 empty] | 0
Bulk Water Meters Accessories
1.16.15 | Emris PR7 (K:1:10) | No. | 1
Commununial Water Meters (Kent Only) - No Meter Box
1.16.16 | 15mm Plastic Meter | No. | 1
1.16.17 | 20mm Plastic Meter | No. | 1
1.16.18 | 25mm Plastic Meter | No. | 1
Meter Fittings
1.16.19 | 25mm M12 Nylon Washers | No. | 1
1.16.20 | 20mm M12 Nylon Washers | No. | 1
1.16.21 | 15mm M12 Nylon Washers | No. | 1
1.16.22 | 25mm adapator hdpe couplings with nylon washers | No. | 1
1.16.23 | 20mm adapator hdpe couplings with nylon washers | No. | 1
1.16.24 | 15mm adapator hdpe couplings with nylon washers | No. | 1
| ISOIL ELECTROMAGNETIC FLOW METER | [8 empty] | 100mm | MS2500-P100-B1A2A
The meter is to included all fittings and connections required for its function. Display and function apps are also to be supplied with meter. Process connection Flanged UNI EN 1092-1 PN16 Material Carbon steel Liner Polypropylene (Up to 105 mm) Ebonite (200 mm and bigger) Maximum Temperature 60°C (Polypropylene) 80°C (Ebonite) Magnetic field coils Epoxy potted Electrodes 316 st. steel, 3 electrodes Protection Class IP68 CABLE Pair of cables for coil and electrodes for inter-connection of MS sensor to MV255 converter. Length 10 meters CONVERTER Display Graphic LCD Supply Lithium batteries (included) Installation Separate for wall mounting Housing material Nylon PA6 with fibre glass Protection class IP67 Communication gateway 4G module with antenna on housing Data Logger Micro SD, memory 4 GB and BIV (built in verificator)
1.16.25 | 80mm MS2500 PN16 | No. | 1 | [8 empty] | MS2500-P150-BIA2A
1.16.26 | 100mm MS2500 PN16 | No. | 1 | [7 empty] | 200mm | MS2500-E200-A1A2A
1.16.27 | 150mm MS2500 PN16 | No. | 1 | [7 empty] | 250mm | MS2500-E250-A1A2A
1.16.28 | 200mm MS2500 PN16 | No. | 1 | [7 empty] | 300mm | MS2500-E300-A1A2A
1.16.29 | 300mm MS2500 PN16 | No. | 1 | [7 empty] | 500mm | MS2500-E500-A1A2A
1.16.30 | 350mm MS2500 PN16 | No. | 1
SUB TOTAL CARRIED FORWARD | [8 empty] | #REF!
BROUGHT FORWARD | [8 empty] | 0
1.16.31 | WaMSS smart flow, level and pressure logger Inputs 2 X pulses 1 X 4 to 20 Ma Modem technology UDP/IP with automatic switching between 3G/EDGE/GPRS. Power Alkaline batteries or external 12 VDC Configuration Via Bluetooth Housing IP67 Logging intervals 1 minute to 24 hours selectable Model FLP4 TO INCLUDE externa antenna | No. | 1
1.16.32 | Greyline doppler flow meter Model DFM 6.1-A-1-A-1-A-1-A-1-A Range ±0.03 to 12.2 m/sec Pipe diameter 12.7 to 4500 mm Accuracy ±2% F.S. Display White, backlit matrix Totalizer 14 digit Calibration Via built in 5 key pad Supply required 100 – 240 VAC Output Isolated 4 to 20 ma Control relays 2 x 5A SPDT Data logger 128 MB (26 million points) Enclosure IP66 Sensor cable length 7.6 meters, can be extended up to 152 meters. Temperature limits -20 to 60°C (electronics) -40 to 150°C (sensor) | No. | 1
1.16.33 | Greyline OCF 6.1 Ultrasonic Level And Flow Monitor Model OCF 6.1-A-1-A-1-D-1-A-1-A Display White backlit matrix Range 4.57 meters Output 4 to 20 mA Relays 2 off SPDT 5A rated Enclosure rating NEMA 4X, IP66 Accuracy ±0.25% of range or 2 mm whichever is greater Programming Built in 5 key calibrator Data logger 26 million point capacity, free software Sensor material PVC and Teflon Sensor cable length 7.6 meters Power supply 100-240 VAC | No. | 1
1.16.34 | Echo Smart Sludge Level Monitor CONTROLLER Model 00-1805 Display Graphical backlit monochrome screen, Resolution:320 X 240 pixels, Viewing area 92 X 122mm Power reqd. 115/230 VAC Output 4-20mA Isolated Relays None Each controller can network up to 16 Echo Smart Sensors. SENSOR Model 00-1803 Range 0.3 to 10.0 meters Resolution 3.05mm @ 3.05m Accuracy 0.3m @ 3.05m Power 15Vdc (provided by power supply unit) Measurement interval Adjustable Sensor material PVC Cable length 6 meters Sensor cleaning Integral wiper system | No. | 1
SUB TOTAL CARRIED FORWARD | [8 empty] | #REF!
BROUGHT FORWARD | [8 empty] | 0
1.16.36 | Echo Smart Sludge Level And Turbidity Monitor CONTROLLER Model 00-1805 Display Graphical backlit monochrome screen, Resolution:320 X 240 pixels, Viewing area 92 X 122mm Power reqd. 115/230 VAC Output 4-20mA Isolated Relays None Each controller can network up to 16 Echo Smart Sensors. SENSOR Model 00-1823 Range 0.3 to 10.0 meters 0 – 50/200 NTU Resolution 3.05mm @ 3.05m Accuracy 0.3m @ 3.05m Power 15Vdc (provided by power supply unit) Measurement interval Adjustable Sensor material PVC Cable length 6 meters Sensor cleaning Integral wiper system | No. | 1
1.16.37 | ATI Q46d Dissolved Oxygen Monitor with Auto-Clean Model Q46D-3-3-1-1 Range 0 – 40.00 PPM Accuracy 0.5% of selected range or 0.02 PPM Display LCD with back light Power 100-240 VAC Relays 3 off SPDT 6A @ 250 VAC Analog output 2 off 4 to 20 ma Protection class IP66 Sensor Submersible Membrane type with 9.122 m cable | No. | 1
1.17 | STRAINERS
1.17.1 | Flow meter strainer meter size 40mm | No. | 1
1.17.2 | Flow meter Strainer meter size 50mm | No. | 1
1.17.3 | Flow meter Strainer meter size 80mm | No. | 1
1.17.4 | Flow meter Strainer meter size 100 mm | No. | 1
1.17.5 | Flow meter strainer size 150 mm | No. | 1
1.17.6 | Flow meter Strainer size 200 mm | No. | 1
1.17.7 | Flow meter Strainer size 250 mm | No. | 1
1.17.8 | Flow meter Strainer size 300mm | No. | 1
1.18 | PIPE SPECIALS
80mm dia N.B 4,5mm Mild steel dipped FBE coated fittings with all flanges with 1000/3
1.18.1 | 300mm f/f pipe 80mm o.a, flanged, pipe length 30mm f/f | No. | 1
1.18.2 | Double flanged 90⁰ bend, 300 mm radius/length | No. | 1
1.18.3 | Blankflange | No. | 1
100mm dia N.B 4,5mm Mild steel dipped FBE coated fittings
1.18.4 | 300mm f/f pipe 100mm o.a, flanged, pipe length 30mm f/f | ` | 1
1.18.5 | Double flanged 90⁰ bend, 300 mm radius/length | No. | 1
1.18.6 | Tapper bell mouth bend, 100-250 mm Ø, length 300mm | No. | 1
1.18.7 | Blankflange | No. | 1
| 150mm dia N.B 4,5mm Mild steel dipped FBE coated fittings with all flanges with 1000/3 | `
1.18.8 | 300mm f/f pipe 100mm o.a, flanged, pipe length 30mm f/f | No. | 1
1.18.9 | Double flanged 90⁰ bend, 300 mm radius/length | No. | 1
TOTAL FOR SECTION 1 (CARRIED FORWARD TO SUMMARY)
2 | SANITATION MATERILALS
2.1 | SEWER
2.1.1 | 250mm diameter uPVC pipe with smooth inner and outer wall (400kPa) in 6m lengths | No. | 1
2.1.0 | 200mm diameter uPVC pipe with smooth inner and outer wall (400kPa) in 6m lengths | No. | 1
2.1.1 | 160mm diameter uPVC pipe with smooth inner and outer wall (400kPa) in 6m lengths | No. | 1 |  | 0 | 0 | 0 |  | 0 | #REF! | blanket
2.1.2 | 110mm diameter uPVC pipe with smooth inner and outer wall (400kPa) in 6m lengths | No. | 1 |  | 0 | 1 | 1 |  | 0 | 0.3496 | blanket | #REF!
2.2 | MANHOLES
Concrete Manholes
2.2.1 | Heavy Duty Cast Iron Lid | No | 1 |  | 0 | 0 | 0 |  | 0 | 0.2911 | blanket
2.2.2 | Heavy Duty Cast Iron loakable Lid (INCLSIVE OF key spanner) | No | 1 |  | 0 | 0 | 0 |  | 0
250mm High Manhole Rings
2.2.3 | 750mm Manhole Ring | No | 1
2.2.4 | 1000mm Manhole Ring | No | 1
2.2.5 | 1250mm Manhole Ring | No | 1
2.2.6 | 1500mm Manhole Ring | No | 1
500mm High Manhole Rings
2.2.7 | 750mm Manhole Ring | No | 20
2.2.8 | 1000mm Manhole Ring | No | 20
2.2.9 | 1250mm Manhole Ring | No | 20
2.2.10 | 1500mm Manhole Ring | No | 20
1000mm High Manhole Rings
2.2.11 | 750mm Manhole Ring | No | 1
2.2.12 | 1000mm Manhole Ring | No | 1
2.2.13 | 1250mm Manhole Ring | No | 1
2.2.14 | 1500mm Manhole Ring | No | 1
2.2.15 | 750mm Manhole Cover Slab | No | 1
2.3 | Cover Slabs
2.3.1 | 1000mm Manhole Cover Slab | No | 1
2.3.2 | 1250mm Manhole Cover Slab | No | 1
2.3.3 | 1500mm Manhole Cover Slab | No | 1
Polymer Concrete Manhole Covers
2.3.4 | 670x530mm (product Type 119130) | No | 1
2.3.5 | 450x600mm (product Type 119130) | No | 1
2.3.6 | 400x570mm (product Type 119135) | No | 1
2.3.7 | 330x410mm (product Type119140) (INCLUSIVE of key) | No | 1
2.3.5 | 545mm Round Manhole Cover (product Typo 119105) | No | 1
2.4 | UNDERGROUND FITTINGS
2.4.1 | UBR41 - 110mm | No | 1
2.4.2 | UBR42 - 110mm | No | 1
| SUB TOTAL CARRIED FORWARD | [7 empty] | #REF!
BROUGHT FORWARD | [8 empty] | 0
2.4.3 | UK40 - 110mm | No | 1
2.4.4 | UK60 - 160mm | No | 1
2.4.5 | UK80 - 200mm | No | 1
2.4.6 | UK40 - 110mm | No | 1 |  | 0 | 0 | 0
2.4.7 | UY84 - 200mm x 160mm | No | 1 |  | 0 | 0 | 0 |  | 0
2.4.8 | UGA40 - 150mm x 110mm | No | 1 |  | 0 | 0 | 0
2.4.9 | UAP40 - 110mm | No | 1 |  | 0 | 0 | 0 |  | 0 | 3
2.4.10 | UAP60 - 160mm | No | 1 |  | 0 | 0 | 0 |  | 0 | 3231
Accessories
2.4.11 | Marley Pressure PVC Solvent Cemenet -500mm | No | 1
2.4.12 | Marley Non-Pressure PVC Solvent Cemenet -500mm | No | 1
TOTAL FOR SECTION 2 (CARRIED FORWARD TO SUMMARY)
3. | EQUIPMENTS
3.1 | SANITATION
3.1.1 | 8mm Heavy Duty Drain/Pipe (2m lengths Only) 1490/1660MPa Tensile Steel. Rod set to include the following heads (1 of each drilling head, Double-Corkscrew, square bar cork screw, root auger, single corkscrew and recovery tool) | Set | 1 |  | 0 | 0 | 0
3.1.1 | Rod assembly tool | No | 1
3.1.2 | Rod Guide | No. | 1
3.1.3 | Rod Guide jack | No. | 1
3.1.4 | Rod Rotation handle | No. | 1
3.1.5 | Foot jack | No. | 1
3.1.6 | 100mm Rubber plunger | No. | 1
3.1.7 | 150mm Rubber plunger | No. | 1
3.1.8 | 200mm Rubber plunger | No. | 1
3.1.9 | Drop scraper | No. | 1
3.1.10 | Rod Extractor | No. | 1
| Manual Sewer Drain Test Manometer (Air) | No. | 1
| Pipeline Tester 50L/Min 0-40 BAR Honda GX240 | No. | 1
3.1.11 | Model PX125/120 - High Velocity Sewer Cleaning Machine. 125l/min @ 120 • Pratissoli KT36 Triplex Plunger Pump • Automatic by-pass and pressure regulator • Pressure dampener • High Volume disc filtration • Hose guide • 3-way flow valve • 1 x Retro-jet pipe cleaning nozzle • With centrally rear mounted hose reel and engine speed control • Mounted on a single axle trailer with over-run brakes low : 125l/Min • Pressure : 120 Bar • Pump Speed : 1580 RPM • Engine : 3 Cylinder Kirloskar Electric start Diesel engine • Power Required : 30Kw @ 2200 RPM • Drive : V-belt and Pulley • Suitable for cleaning pipes : 75 – 400mm • Hose : 121m x 19mm (3/4”) Lightweight Sewer Hose • Reel : Hydraulically Operated • Breaker Tank : 500LT corrosive resistant | No. | 1
3.1.12 | Trailer Carryall TR/1 With Rod Reel & Power Rodder Fpr-5 / Honda Gx160hh • Drain Rod Set H/Duty 2mtrx8mm which the set includes the following: - 1.00 x Universal Assembly Tool Hd/ Ld - 1.00 x Bar Turning Handle H/Duty - 1.00 x Double Corkscrew 89mm H/Duty 1 - 25.00 x Flexicon Steel Drain Rod 8mm X 2m - 1.00 Root Auger 89mm H/Duty 1.00 - 1.00 x Rotating Handle H/Duty 1.0 - 1.00 1x Rubber Plunger 100mm H/Duty 1.00 - 1.00 x Wire Brush 100mm H/Duty(Spiral) 1.00 - 1.00 x Drop Scraper 89mm H/Duty 1.0
| SUB TOTAL CARRIED FORWARD | [7 empty] | #REF!
BROUGHT FORWARD | [8 empty] | 0
| Labeling Machine | No. | 1
3.1.13 | Brother PT-H110 Home and Small Office Label Printer - White with 2 additional cartdriges | No. | 1
3.1.14 | BRADY Portable Label Maker System - 4VH64¦42001 - Grainger 2 additional cartdriges | No. | 1
| SMALL SEWER EQUIPMENT | [7 empty] | 0
3.1.15 | Dain Plugs | No. | 1
3.1.16 | 110mm | No | 1
3.1.17 | 160mm | No | 1
3.1.18 | 200mm | No | 1
3.1.19 | 250mm | No | 1
3.1.20 | 300mm | No | 1
3.1.21 | 325mm | No | 1
3.1.22 | 375mm | No | 1
3.1.23 | 400mm | No | 1
3.1.24 | 100mm Centre Lockinging sewer plugs | No | 1 |  | 0 | 0 | 0
3.1.25 | 150mm Centre Lockinging sewer plugs | No | 1
3.1.26 | 200mm Centre Lockinging sewer plugs | No | 1 |  | 0 | 0 | 0
3.1.27 | Spherical roller bearing tapered clearance 80x140x33mm | No | 1
3.1.28 | Bearing housing plumber SNU Seriers | No | 1
3.1.29 | Tyre fenaflex coupling F160 3770Nm 1600 RPM Fenner | No | 1
3.1.30 | Bearing housing seal felt 70mm shaft dia Timken | No | 1
3.1.31 | Adapt sleeve met 70mm shaft dia 59mm Length M80x2,0 ThreadFSQ | No | 1
Waste Water
3.2.32 | Submerged mercury float switch for sewer 230V | No | 1
3.2.33 | Endress and Hauser FMU90 with ultrasonic eye | No | 1
3.2.34 | Quantum 3 Ultrasonic sensor | No | 1
3.2.35 | Quantum 4 Ultrasonic sensor | No | 1
3.2.36 | Ultra 4 Advance Ultrasonic level, flow, Volume and pump control | No | 1
3.2.37 | TTFM 6,1 transit time flow meter | No | 1
3.2.38 | Intelligent pumpstation controller | No | 1
3.2.39 | Green Drop Water Testing Monitoring Kit Build in Bluetooth transmission module 220/110V | No | 1
3.2.40 | Hydrate lime powder supplied in 25 kg bags | No | 1
3.2.41 | Borehole pipe clamps | No | 1
3.2.41.1 | 50mm | No | 1
3.2.41.2 | 65mm | No | 1
3.2.41.3 | 80mm | No | 1
3.2.41.4 | 100mm | No | 1
3.2.41.5 | 110mm | No | 1
| Electrical Panel Commponents | No | 1
3.2.42 | Avanti Phase Failure 400V/Phase sequence relay 11 pin | No | 1
3.2.43 | Multirange delay timer relay ACDC 203V | No | 1
3.2.44 | Flip-flop relay ACDC 203V | No | 1
3.2.45 | Flygt mini control and status 230V AC | No | 1
3.2.46 | Dinder 24V AC 14 pin relay | No | 1
| SUB TOTAL CARRIED FORWARD | [7 empty] | #REF!
BROUGHT FORWARD | [8 empty] | 0
3.2.47 | Dinder 14 pin base | No | 1
3.2.48 | Allan-bradley 16A Contractor AC-3 (400v+6A) | No | 1
3.2.49 | Allan-bradley (11,3-16A) overload class 10A | No | 1
3.2.50 | Schneider overload 7-15A | No | 1
3.2.51 | Schnider auxillary LADN22 | No | 1
3.2.52 | MCE D95 II contactor 400V 50Hz | No | 1
3.2.53 | MCE D33 (43-65A) | No | 1
3.2.54 | TC1-D32 10 contacto | No | 1
3.2.55 | 240V 50Hz AC3-32A | No | 1
3.2.56 | 240V 50Hz AC1-50A | No | 1
3.2.57 | TC TR D09 (7-10A) | No | 1
3.2.58 | TC1D 1810 contactor 240V | No | 1
3.2.59 | MCE D13 (12-18A) overload | No | 1
3.2.60 | MCE 6A fuse (RT18-32V) | No | 1
3.2.61 | ABB MS116 motor breaker (32A) | No | 1
3.2.62 | ABB (AF09-30-10) contactor 230V | No | 1
3.2.63 | 1mm2 red pannel wire | No | 1
3.2.64 | 1mm2 black pannel wire | No | 1
3.2.65 | 1mm2 earth pannel wire | No | 1
3.2.66 | 1.5mm2 red pannel wire | No | 1
3.2.67 | 1.5mm2 black pannel wire | No | 1
3.2.68 | Multi 9 (NC100) 80A-90A) Mellin CB Type 40⁰C | No | 1
3.2.69 | C45 32A Type4 C.B | No | 1
3.2.70 | 40A 240V earth leakage | No | 1
3.2.71 | WEG 45A Softstarter | No | 1
3.2.72 | WEG 7,5KW 15A | No | 1
3.2.73 | VSD Delta CP2000 30,6KW; 62A (50Hz) | No | 1
3.2.74 | VSD Delta CP2000 55KW; 110A (50Hz) | No | 1
3.2.75 | Pilot light 230V Red | No | 1
3.2.76 | Pilot light 230V Green | No | 1
3.2.77 | Pilot light 230V Yellow | No | 1
3.2.78 | Pilot light 230V Blue | No | 1
3.2.79 | Telemecanique LC1D09 contactor (230 coil) | No | 1
3.2.80 | Telemecanique LRD overload (1,6-3A) | No | 1
3.2.81 | Hellermann Tyton TODGT digital programmable geyser time | No | 1
3.2.82 | Schneider EL 63A | No | 1
3.2.83 | Schneider CB 16A | No | 1
3.2.84 | Schneider EL 63A | No | 1
3.2.85 | Schneider EL 63A | No | 1
3.2.86 | Shroud Size pratley No.1 with glands | No | 1
3.2.87 | Shroud Size pratley No.2 with glands | No | 1
3.2.88 | Shroud Size pratley No.3 with glands | No | 1
3.2.89 | Shroud Size pratley No.4 with glands | No | 1
3.2.90 | Hole saw size 20mm | No | 1
3.2.91 | Hole saw size 22mm | No | 1
3.2.92 | Hole saw size 25mm | No | 1
3.2.93 | Hole saw size 30mm | No | 1
3.2.94 | Hole saw size 45mm | No | 1
3.2.95 | C/B 100A C60N 3P | No | 1
3.2.96 | Avanti timer | No | 1
| SUB TOTAL CARRIED FORWARD | [7 empty] | #REF!
BROUGHT FORWARD | [8 empty] | 0
3.2.95 | Avanti timer base | No | 1
3.2.96 | Top Tronic TDDGT Digital Programmeable (Geyser) timer (230V) | No | 1
3.2.97 | Isolater 3P 63A | No | 1
3.2.98 | ACDC submissible pump seal monitor | No | 1
3.2.99 | Push button | No | 1
3.2.100 | Start green N/O | No | 1
3.2.101 | Stop red N/O | No | 1
3.2.102 | yellow reset N/C | No | 1
3.2.103 | E/Stop N/C | No | 1
3.2.104 | RVC 48mmx48mmm Digital Hour Meter (230V) | No | 1
3.2.105 | 1.5mm2 black pannel wire | No | 1
3.2.106 | 3 PoS selector switch (m/on- off/off-auto/on) | No | 1
3.2.107 | Day/Night Control Switch - 25A 230V | No | 1
3.2.108 | ACDC dynamic VA 100 input 230V output 24V transformer | No | 1
3.2.109 | Omniblast-1-E | No | 1
3.2.110 | Omniblast-2-E | No | 1
3.2.111 | Omniblast-3-E | No | 1
3.2.112 | Florecent LED Tubes 5FT | No | 1
3.2.113 | Florecent LED Tubes 4FT | No | 1
3.2.114 | Florecent LED Tubes 3FT | No | 1
3.2.115 | Florecent LED Brackets 5FT | No | 1
3.2.116 | Florecent LED Brackets 4FT | No | 1
3.2.117 | Florecent LED Brackets 4FT | No | 1
3.2.118 | 4x4 Plug Top | No | 1
3.2.119 | Light switch 4x2 | No | 1
3.2.120 | Switch and Extension Box 4x2 | No | 1
3.2.121 | CBI Earth Leakage 63A | No | 1
3.2.122 | CBI Breakers 40A | No | 1
3.2.123 | CBI Breakers 30A | No | 1
3.2.124 | CBI Breakers 20A | No | 1
3.2.125 | D10 Turbo SMART Motor (inclusive of track and rail 6m gate and 4 remotes) | No | 1
3.2.126 | D10 Turbo SMART Motor (inclusive of track and rail 4m gate and 4 remotes) | No | 1
3.2.127 | Amouring Cable 2,5mm 3 Core | /m
3.2.128 | Surfex cable 2,5mm2 | No | 1
3.2.129 | PVC gland 20mm | No | 1
3.2.130 | PVC gland 22mm | No | 1
3.2.131 | Hilti screws 6mm | No | 1
3.2.132 | Hilti screws 8mm | No | 1
3.2.133 | Tek screws 5,5mm x 20mm 100/Pack | No | 1
3.2.134 | Tek screws 5,5mm x 75mm | No | 1
3.2.135 | Tek screws 5,5mm | No | 1
3.2.136 | Tek screws 5,5mm | No | 1
3.2.137 | Tek screws 5,5mm | No | 1
3.2.138 | Tek screws 5,5mm | No | 1
3.2.139 | Waterproof box 4x2 (including Plug) | No | 1
3.2.140 | Weatherproof box 4x2 (including Plug) | No | 1
3.2.141 | Glend Size 0 | No | 1
3.2.142 | Glend Size 1 | No | 1
| SUB TOTAL CARRIED FORWARD | [7 empty] | #REF!
BROUGHT FORWARD | [8 empty] | 0
3.2.143 | Shrouds Size 0
3.2.144 | Shrouds Size 1
3.2.145 | 3 Pin Plug 230V
3.2.146 | 12V Lthium Battaries
WATER
3.2.147 | LED IP65 Outdoor Floodlight 200W (Rechargeable , portable, bright) with light bracket. 8000 lumen super bright LED light with adjustable strongbracket | No | 1
3.2.148 | Trade professional Petrol Water Pump.4 Stroke with Max power 6.5Kw with 100mm dia. inlet/outlet. Max flow 50m3/h and6L fuel tank. Pump to be inclusive of 100m hose and accessories | No | 1
3.2.149 | Precision under pressure saddle drill. Kit to include cutting heads with range from 15mm to 40mm | No | 1
3.2.150 | 8 kVA Petrol Deisel Generator(Turner Morris or similar approved) | No | 1
3.2.151 | 25 mm Megaflex Heavy Duty /hose SANS 271 to include standpipe/hose fittings | No. | 1
3.2.152 | 4 SE Portble Complact Threader 1750W; 120 KG; 750x540x480mm | No. | 1
3.2.153 | Super cut 1/2" Threading Set | No. | 1
3.2.154 | 230V Electrofusion Machine XL GPS Working range 20mm-1600mm diameter Welding output 8/80V | No. | 1
3.2.155 | 1200 Turbo Electro-Fusion Welding Unit | No. | 1
3.2.156 | SEWER
3.2.157 | Trade professional 5 KW (6.7 HP) Trash pump 4-Stroke Petrol Engine 200CC Petrol Powered. Pump to include a 75mm 8-Bar 100m Layflat Hose and 75mm suction pipe (5m) with strainer | No | 1
3.2.158 | Petrol Water Pump.4 Stroke with Max power 6.5Kw with 100mm dia. inlet/outlet. Max flow 50m3/h and6L fuel tank. Pump to be inclusive of 100m hose and accessories | No | 1
3.2.159 | Precision under pressure saddle drill. Kit to include cutting heads with range from 15mm to 40mm | No | 1
3.2.160 | 8 kVA Petrol Deisel Generator(Turner Morris or similar approved) | No | 1
3.2.161 | 25 mm Megaflex Heavy Duty /hose SANS 271 to include standpipe/hose fittings | No. | 1
3.2.162 | Demolition Hammer Max 30Kg 28mm Hex Tool Holder 2100W Power 62 Joules utput Power 1200W | No. | 1
3.2.163 | Diesel Mobile Light Tower DTL 500K Model | No. | 1
3.2.164 | Contractor Rammer GX100 70 KG | No. | 1
3.2.165 | Petrol Concrete Mixer 5,5HP 400l Drum
3.2.166 | Vertical Storage Tanks
3.2.167 | 1000l Vertical Jojo Tanks | No. | 1
3.2.168 | 2400l Vertical Jojo Tanks | No. | 1
3.2.169 | 5250l Vertical Jojo Tanks | No. | 1
3.2.170 | 10000l Vertical Jojo Tanks | No. | 1
TOTAL FOR SECTION 3 (CARRIED FORWARD TO SUMMARY)
4 | PUMPS AND MOTORS
4.1 | Motors
4.1.1 | 15 KW Motor 28,4 A 1460 1640 r/min
4.1.2 | 15 KW Motor 28,4 A 1460 72 r/min
4.1.3 | 16 KW Motor 28,4 A 1460 72 r/min
4.2 | Gearbox
4.2.1 | 15 KW Motor 28,4 A 1460 72 r/min
| Union Modlocks | No | 1
4.1.3 | 50mm Locks with one key opening for each colour batch request (order)
4.1.4 | Green | No | 1
4.1.5 | Blue | No | 1
4.1.6 | Yellow | No | 1
4.1.7 | Grey | No | 1
4.1.8 | Black | No | 1
4.1.9 | 40mm Locks with one key opening for each colour batch request (order)
4.1.10 | Green | No | 1
4.1.11 | Blue | No | 1
4.1.12 | Yellow | No | 1
4.1.13 | Grey | No | 1
4.1.14 | Black | No | 1
4.1.15 | Lifting Equipment (to include factory safety certificate and comply with (SANS 1592)
4.1.16 | Chain Blocks (3T to 5T Chain Blocks to have a 15m lifting capacity chain)
4.1.17 | 1,5 Ton | No | 1
4.1.18 | 3 Ton | No | 1
4.1.19 | 5 Ton | No | 1
4.1.20 | Lever Hoists
4.1.21 | 1 Ton | No | 1
4.1.22 | 3,2 Ton | No | 1
4.1.23 | Electric hoists
4.1.24 | 1,5 Ton | No | 1
4.1.25 | 3 Ton | No | 1
4.1.26 | Lashing Chains
4.1.27 | Grade 100 Alloy Chain (per meter) | No | 1
4.1.28 | Grade 80 Alloy Chain (per meter) | No | 1
4.1.29 | Grade 30 Extra Long Link Chain (per meter) | No | 1
4.1.30 | 25mm Ratchet And Tie Down Straps | No | 1
4.1.31 | 50mm Ratchet And Tie Down Straps | No | 1
4.1.32 | 75mm Ratchet And Tie Down Straps | No | 1
Crawls
4.1.33 | Geared crawl. Standard crawls suit I-beam widths from 50mm to 220mm and are fully adjustable. Our crawls have a capacity range from 0.5 ton to 20 ton. | No | 1
4.1.34 | Plain crawl. Standard crawls suit I-beam widths from 50mm to 220mm and are fully adjustable. Our crawls have a capacity range from 0.5 ton to 20 ton. | No | 1
| SUB TOTAL CARRIED FORWARD | [7 empty] | #REF!
BROUGHT FORWARD | [8 empty] | 0
Manhole Handling
4.1.35 | Manhole Ring Lifting System, hree-legged chain sling attached to three lifting clamps. Minimum dimensions of ring – 900mm; Wall thickness range – 40mm – 125mm; Maximum weight – 2400kg | No | 1
4.1.36 | Combination Pipe Layer, one leg of the c-hook pipe lifter attachment. | No | 1
4.1.37 | Confined Space Entry Kit with Dynevac II Rescuer, 50-ft (16 m) with attahced rescuer and winch | No | 1
4.1.38 | Workman Confined Space Entry, complete with Side mount with emergency air drive adapter*, stainless steel wire rope, 50-ft (16m) and Workman Winch, stainless steel cable, 65-ft (20 m) | No | 1
Stainless steel chains and fittings
4.1.40 | Cromox pump chains Grade 60, 5m continuous length | No | 1
4.1.41 | 16mm bow shackles | No | 1
4.1.42 | 12mm bow shackles | No | 1
4.1.43 | 10mm bow shackles | No | 1
4.1.44 | 8mm bow shackles | No | 1
4.1.45 | 16m D shackles | No | 1
4.1.46 | 12mm D shackles | No | 1
4.1.47 | 10mm bow shackles | No | 1
4.1.48 | 8mm D shackles | No | 1
4.1.49 | Quicklink 8mm S/S | No | 1
4.1.50 | Carbine Hook M10 X 100Mm Stainless Steel | No | 1
4.1.51 | Carbine Hook M12 X 140mm Stainless Steel | No | 1
4.1.52 | Chain Hook 8Mm Stainless Steel | No | 1
Testing Equipments
4.1.53 | Fluke 1507 Digital Megohmmeter Insulation Resistance Tester, For Advanced Industrial and Electrical Insulation Testing, Offers Multiple Insulation Test Voltages: 50 V, 100 V, 250 V, 500 V, and 1000 V | No | 1
4.1.54 | Digital Multifunction and Insulation Continuity-Voltage tester, DIM-572. Test Voltages: 250 V, 500 V, and 1000 V | No | 1
4.1.55 | Fluke Digital Clamp Meters Tong Tester 302+. VG-400A AC-600V AC, Resistance, Continiuity - 30mm. | No | 1
4.1.56 | BF80 Self Priming Diaphragm Sludge Pump 380V Diesel | No | 1
4.1.57 | Air Driven Double Diaphragm Pump Diaphragm Sludge Pump Non Leakage 12.3kg Weight | No | 1
4.1.58 | Powerful Double Acting Diaphragm Pump / Dual Diaphragm Mud Pump 903l/Min | No | 1
4.1.59 | Double Diaphragm Hand Pump 1,5" Connection | No | 1
4.1.60 | Hand membrane pump Type: 951 GG/NBR | No | 1
Air Compress
4.1.61 | AP20/100/500 with 380/400 Volt Three phase, 50 Hz, 15 kW, 20 hp. Star delta starter with electronic overload 500 liter air receiver Max pressure: 11 bar, 160 psi. Compressor supply to include an additional 13 mm Ø (1/2 in) TPE air hose with ended fitting customed to fit on compressor | No | 1
4.1.62 | Manual Trolley | No | 1
4.1.63 | 1 Ton Manual Trolley Std | No | 1
TOTAL FOR SECTION 4 (CARRIED FORWARD TO SUMMARY)
FINAL EXPECTED CONTRACT VALUE |  | 12513622
ROADS
SECTION | DESCRIPTION | AMOUNT
1 | PRELIMINARY AND GENERAL | #REF!
2 | SITE CLEARANCE AND EARTH WORKS | #REF!
3 | EARTH WORKS (PIPE TRENCHES) | 0
4 | EARTH WORKS (ROADS, SUBGRADE) | #REF!
5 | CONCRETE (SMALL WORKS) | 0
6 | MEDIUM PRESSURE PIPE LINES | 0
7 | SEWER NETWORK | 0
8 | STORMWATER DRAINAGE | 0
9 | ERF CONNECTIONS (Water) | 0
10 | SUB-BASE (WEARING COURSE) | #REF!
| SUB-TOTAL 1 | #REF!
| PERCENTAGE OF CLAIM | [6 empty] | #REF! | #REF!
| PERCENTAGE OF TENDERED ROADS | [6 empty] | #VALUE! | #REF!
| 14% VAT | #REF!
| TOTAL PROJECT | #REF!
STORM WATER
SECTION | DESCRIPTION | AMOUNT
1 | PRELIMINARY AND GENERAL | #REF!
2 | SITE CLEARANCE AND EARTH WORKS | #REF!
3 | EARTH WORKS (PIPE TRENCHES) | 0
4 | EARTH WORKS (ROADS, SUBGRADE) | #REF!
5 | CONCRETE (SMALL WORKS) | #REF!
6 | MEDIUM PRESSURE PIPE LINES | 0
7 | SEWER NETWORK | 0
8 | STORMWATER DRAINAGE | #REF!
9 | ERF CONNECTIONS (Water) | 0
10 | SUB-BASE (WEARING COURSE) | 0
| SUB-TOTAL 1 | #REF!
| PERCENTAGE OF CLAIM | [6 empty] | #REF! | #REF!
| PERCENTAGE OF TENDERED STORM WATER | [6 empty] | #VALUE! | #REF!
| 14% VAT | #REF!
| TOTAL PROJECT | #REF!
SEWER
SECTION | DESCRIPTION | AMOUNT
1 | PRELIMINARY AND GENERAL | #REF!
2 | SITE CLEARANCE AND EARTH WORKS | #REF!
3 | EARTH WORKS (PIPE TRENCHES) | #REF!
4 | EARTH WORKS (ROADS, SUBGRADE) | 0
5 | CONCRETE (SMALL WORKS) | 0
6 | MEDIUM PRESSURE PIPE LINES | 0
7 | SEWER NETWORK | #REF!
8 | STORMWATER DRAINAGE | 0
9 | ERF CONNECTIONS (Water) | 0
10 | SUB-BASE (WEARING COURSE) | 0
| SUB-TOTAL 1 | #REF!
| PERCENTAGE OF CLAIM | [6 empty] | #REF! | #REF!
| PERCENTAGE OF TENDERED SEWER | [6 empty] | #VALUE! | #REF!
| 14% VAT | #REF!
| TOTAL PROJECT | #REF!
WATER
SECTION | DESCRIPTION | AMOUNT
1 | PRELIMINARY AND GENERAL | #REF!
2 | SITE CLEARANCE AND EARTH WORKS | #REF!
3 | EARTH WORKS (PIPE TRENCHES) | #REF!
4 | EARTH WORKS (ROADS, SUBGRADE) | 0
5 | CONCRETE (SMALL WORKS) | #REF!
6 | MEDIUM PRESSURE PIPE LINES | #REF!
7 | SEWER NETWORK | 0
8 | STORMWATER DRAINAGE | 0
9 | ERF CONNECTIONS (Water) | #REF!
10 | SUB-BASE (WEARING COURSE) | 0
| SUB-TOTAL 1 | #REF!
| PERCENTAGE OF CLAIM | [6 empty] | #REF! | #REF!
| PERCENTAGE OF TENDERED WATER | [6 empty] | #VALUE! | #REF!
| 14% VAT | #REF!
| TOTAL PROJECT | #REF!
| TOTAL CLAIM AS PERCENTAGE OF TENDERED BILL | [6 empty] | #REF! | #REF!
#REF!

## Summary
GA-SEGONYANA LOCAL MUNICIPALITY
PROCUREMENT OF WATER AND SEWER MATERIALS AND EQUIPMENT - SUPPLY AND DELIVERY ONLY
SECTION | DESCRIPTION | AMOUNT
SUMMARY OF SECTIONS |  |  |  |  | #REF!
1 | WATER - MEDIUM PRESSURE MATERIALS
2 | SANITATION |  |  |  | #REF!
3 | EQUIPMENTS |  |  |  | #REF!
4 | PUMPS AND MOTORS |  |  |  | #REF!
| SUB-TOTAL 1 |  |  |  | #REF!
| 15% VAT |  |  |  | #REF!
| TOTAL |  |  |  | #REF!
FINAL EXPECTED CONTRACT VALUE |  | 12513622
ROADS
SECTION | DESCRIPTION | AMOUNT
1 | PRELIMINARY AND GENERAL | #REF!
2 | SITE CLEARANCE AND EARTH WORKS | #REF!
3 | EARTH WORKS (PIPE TRENCHES) | 0
4 | EARTH WORKS (ROADS, SUBGRADE) | #REF!
5 | CONCRETE (SMALL WORKS) | 0
6 | MEDIUM PRESSURE PIPE LINES | 0
7 | SEWER NETWORK | 0
8 | STORMWATER DRAINAGE | 0
9 | ERF CONNECTIONS (Water) | 0
10 | SUB-BASE (WEARING COURSE) | #REF!
| SUB-TOTAL 1 | #REF!
| PERCENTAGE OF CLAIM |  |  | #REF! | #REF!
| PERCENTAGE OF TENDERED ROADS |  |  | #VALUE! | #REF!
| 14% VAT | #REF!
| TOTAL PROJECT | #REF!
STORM WATER
SECTION | DESCRIPTION | AMOUNT
1 | PRELIMINARY AND GENERAL | #REF!
2 | SITE CLEARANCE AND EARTH WORKS | #REF!
3 | EARTH WORKS (PIPE TRENCHES) | 0
4 | EARTH WORKS (ROADS, SUBGRADE) | #REF!
5 | CONCRETE (SMALL WORKS) | #REF!
6 | MEDIUM PRESSURE PIPE LINES | 0
7 | SEWER NETWORK | 0
8 | STORMWATER DRAINAGE | #REF!
9 | ERF CONNECTIONS (Water) | 0
10 | SUB-BASE (WEARING COURSE) | 0
| SUB-TOTAL 1 | #REF!
| PERCENTAGE OF CLAIM |  |  | #REF! | #REF!
| PERCENTAGE OF TENDERED STORM WATER |  |  | #VALUE! | #REF!
| 14% VAT | #REF!
| TOTAL PROJECT | #REF!
SEWER
SECTION | DESCRIPTION | AMOUNT
1 | PRELIMINARY AND GENERAL | #REF!
2 | SITE CLEARANCE AND EARTH WORKS | #REF!
3 | EARTH WORKS (PIPE TRENCHES) | #REF!
4 | EARTH WORKS (ROADS, SUBGRADE) | 0
5 | CONCRETE (SMALL WORKS) | 0
6 | MEDIUM PRESSURE PIPE LINES | 0
7 | SEWER NETWORK | #REF!
8 | STORMWATER DRAINAGE | 0
9 | ERF CONNECTIONS (Water) | 0
10 | SUB-BASE (WEARING COURSE) | 0
| SUB-TOTAL 1 | #REF!
| PERCENTAGE OF CLAIM |  |  | #REF! | #REF!
| PERCENTAGE OF TENDERED SEWER |  |  | #VALUE! | #REF!
| 14% VAT | #REF!
| TOTAL PROJECT | #REF!
WATER
SECTION | DESCRIPTION | AMOUNT
1 | PRELIMINARY AND GENERAL | #REF!
2 | SITE CLEARANCE AND EARTH WORKS | #REF!
3 | EARTH WORKS (PIPE TRENCHES) | #REF!
4 | EARTH WORKS (ROADS, SUBGRADE) | 0
5 | CONCRETE (SMALL WORKS) | #REF!
6 | MEDIUM PRESSURE PIPE LINES | #REF!
7 | SEWER NETWORK | 0
8 | STORMWATER DRAINAGE | 0
9 | ERF CONNECTIONS (Water) | #REF!
10 | SUB-BASE (WEARING COURSE) | 0
| SUB-TOTAL 1 | #REF!
| PERCENTAGE OF CLAIM |  |  | #REF! | #REF!
| PERCENTAGE OF TENDERED WATER |  |  | #VALUE! | #REF!
| 14% VAT | #REF!
| TOTAL PROJECT | #REF!
| TOTAL CLAIM AS PERCENTAGE OF TENDERED BILL |  |  | #REF! | #REF!
#REF!